[image: image1.jpg]



SECTION 05521 (05 52 00)
ALUMINUM RAILING
PART  1   GENERAL

1.1 SECTION INCLUDES

A. Extruded aluminum railing system frame with cable infill.

1.2 RELATED SECTIONS

A. Section 04800 (04 20 00) - Unit Masonry.

1.3 REFERENCES
A. ASTM A 492 - Specification for Stainless Steel Rope Wire.

B. ASTM B 221 (ASTM B 221 M) - Aluminum-Alloy Extruded Bar, Rod, Wire, Shape and Tube.

C. ASTM B 429 - Standard Specification for Aluminum-Alloy Extruded Structural Pipe and Tube.
D. AAMA 2604 - Voluntary Specification, Performance Requirements and Test Procedures for High Performance Organic Coatings on Aluminum Extrusions and Pipe.

E. International Code Council – International Residential Code (IRC):
1. Section 104.11 Alternative materials, design and methods of construction and equipment.
2. 2012, 2015, 2018, 2021 IRC Section R311.7.8 – Handrails.
3. 2012, 2015, 2018, 2021 IRC Section R311.8.3 – Handrails Required.
4. 2012, 2015, 2018, 2021 IRC Section 312 – Guards.
F. International Code Council – International Building Code (IBC):
1. Section 104.11 Alternative materials, design and methods of construction and equipment.
2. Section 1014 – Handrails.
3. Section 1015 – Guards.
1.4 DESIGN / PERFORMANCE REQUIREMENTS

A. Structural Performance:  Provide handrails and railings that meet all applicable codes pertaining to the top rail of the guards, handrails not serving as top rail, and guard infill area.

B. Corrosion Resistance:  Separate incompatible materials to prevent electrolytic corrosion.

1.5 SUBMITTALS

A. Submit under provisions of Section 01300 (01 33 00).

B. Product Data:  Manufacturer's data sheets on each product to be used, including:

1. Preparation instructions and recommendations.

2. Storage and handling requirements and recommendations.

3. Installation and maintenance methods.

C. Shop Drawings:  Indicate materials, sizes, styles, fabrication, anchorage and installation details for railing system and infill.

D. LEED Submittals:  Provide documentation of how the requirements of Credit will be met:

1. List of proposed materials with recycled content. Indicate post-consumer recycled content and pre-consumer recycled content for each product having recycled content.

2. Product data and certification letter indicating percentages by weight of post-consumer and pre-consumer recycled content for products having recycled content.

E. Selection Samples:  For each finish product specified, two complete sets of color chips representing manufacturer's full range of available colors and finishes.

F. Verification Samples:  For each finish product specified, provide two samples, minimum size 6 inches (150 mm) square that represent actual product, color, and finish.
G. Assembly Samples:  Provide assembled samples of railings sections, fabricated from full-size components, showing method of finishing intersections.

1. Post and Top Rail Sections:  minimum 4 inch (100 mm) long piece of each type specified,

2. Infill:  Cable, minimum 8 inch (200 mm) long piece with end fittings.

H. Manufacturer's Certificates:  Certify products meet or exceed specified requirements.

I. Closeout Submittals:  Provide manufacturer's maintenance instructions that include recommendations for periodic checking and adjustment of cable tension and periodic cleaning and maintenance of all railing and infill components.

1.6 QUALITY ASSURANCE

A. Manufacturer Qualifications:  Minimum 10 year’s experience in producing aluminum railing systems.

B. Mock-Up:  Provide a mock-up for evaluation of preparation techniques and application workmanship.

1. Finish one complete railing section with infill in area designated by Architect.

2. Do not proceed with remaining work until workmanship is approved by Architect.

3. Reconstruct mock-up as required to produce acceptable work.

4. Accepted mock-ups shall be comparison standard for remaining Work.
1.7 DELIVERY, STORAGE, AND HANDLING

A. Deliver to site and store materials in manufacturer's original containers and packaging, with labels clearly identifying product name and manufacturer.

B. Store products in clean, dry area indoors until ready for installation. Store materials in accordance with manufacturer's instructions.

C. Protect materials and finish from damage during handling and installation.

1.8 SEQUENCING

A. Ensure that shop drawings and other information required for installation of products of this section are furnished to affected trades in time to prevent interruption of construction progress.

B. Ensure that products of this section are supplied to affected trades in time to prevent interruption of construction progress.

1.9 PROJECT CONDITIONS

A. Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's absolute limits.

B. Verify actual openings by field measurements before fabrication; show recorded measurements on shop drawings.

C. Coordinate field measurements and fabrication schedule with construction progress to avoid construction delays.

1.10 PRE-INSTALLATION MEETING

A. Convene a pre-installation meeting approximately two weeks before start of construction of railing frame component mounting surfaces. Require attendance of parties directly affecting work of this section, including Contractor, Architect, fabricator, and installer. Review the following:

1. Specific method of installation of components into mounting surfaces.

2. Installation, adjusting, cleaning, and protection of railing system.

3. Coordination with other work.

1.11 COORDINATION

A. Coordinate Work with other operations and installation of adjacent materials to avoid damage.

1.12 WARRANTY

A. Warranty:
1. Extruded aluminum railing system frame with cable infill – 10-year limited warranty from date of purchase.
1.13 EXTRA MATERIALS

A. See Section 01600 (01 60 00) - Product Requirements, for additional provisions.

B. Provide one, approximately 0.6 fluid ounce (18 ml) container of touch-up paint per 100 feet (30 m) of each color railing.

PART  2   PRODUCTS

2.1 MANUFACTURERS

A. Acceptable Manufacturer:  Feeney Inc. (DesignRail), which is located at:  2603 Union St.; Oakland, CA 94607; Toll Free Tel:  800-888-2418; Email:  request info (commercial@feeneyinc.com); Web:  https://www.feeneyinc.com/Feeney-Commercial 
B. Substitutions:  Not permitted.

C. Requests for substitutions will be considered in accordance with provisions of Section 01600 (01 60 00).

2.2 MATERIALS – GENERAL
A. Aluminum Railing System Frame:  Alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, and with not less than strength and durability properties of alloy and temper designated below for each aluminum form required.

1. Extruded Bar and Tube:  ASTM B 221 (ASTM B 221 M), alloy 6063-T5.
2. Plate and Sheet:  ASTM B 209 (ASTM B 209M), alloy 6061-T6/T52.

3. Powder-coat aluminum components in compliance with AAMA 2604 standard.
B. Structural Requirements:  Fabricate integral railings and component connections to meet or exceed the requirements as set forth in the current, adopted ICC International Building Code (IBC), International Residential Code (IRC), or governing local code as applicable.
1. Infill:  CableRail and Fittings.
.
2.3 MATERIALS – ALUMINUM RAILING SYSTEM
A. Aluminum Railing System:  DesignRail Railing System as manufactured by Feeney, Inc.

1. Frame Options (Height/Mounting/TopRail):
a. Height: 36 inch (914 mm)

2. Mounting Conditions:
a. Square Post:  Fascia bracket mounted as shown on Drawings.
3. Top Rail Profiles:
a. As shown on Drawings.
4. Infill Style Options:
a. DesignRail with CableRail Infill:
1) Vertical CableRail Cables:  1/8 inch (3.2 mm) diameter, 1 by 19 construction, ASTM A 492, Type 316 stainless steel, polished finish, commercial, dry grade cable with fittings options specified below.
a) Include washers, nuts, end caps and any accessory items as recommended by manufacturer for installation conditions shown on Drawings.
2) Horizontal CableRail Cables:  1/8 inch (3.2 mm) diameter, 1 by 19 construction, ASTM A 492, Type 316 stainless steel, polished finish, commercial, dry grade cable with fittings options specified below.
a) CONCEAL CABLERAIL KITS:  Provide Feeney CableRail Conceal Kits with a factory attached stainless steel Conceal Terminal and Receiver on one end of each cable and a field attached stainless steel Conceal Quick-Connect fitting for the other end as shown on Drawings.
b) OPTION ABOVE plus INTERMEDIATE RAIL:  1-11/16 by 1-3/4 inch (43 by 45 mm) by 1/16 inch (1.6 mm) thick extruded aluminum rounded channel profile.
c) BOTTOM RAIL:
1) No Bottom Rail.
d) Include washers, nuts, end caps and any accessory items as recommended by manufacturer for installation conditions shown on Drawings.
5. Structural Requirements:  Fabricate integral railings and component connections to meet or exceed the requirements as set forth in the current, adopted ICC International Building Code (IBC), International Residential Code (IRC), or governing local code as applicable.
2.4 COMPONENTS

A. Fasteners for Connecting Components to Other Construction:  Type and size as shown on Drawings.

B. Aluminum end caps for exposed open ends of rails, tubes, and profiles.
2.5 FINISH

A. Shop Finish:  ColorEasy Powder-coated aluminum components in compliance with AAMA 2604.

1. ColorEasy Choices per component.
a. Post Color:
1) Color:  As shown on Drawings

b. Top Rail Profile:

1) Color:  As shown on Drawings.
2.6 FABRICATION
A. Fabricate members and assemblies in accordance with approved shop drawings.

B. Assemble items to largest extent practical to minimize field splicing. Disassemble as required for shipping. Clearly identify each unit for installation.
C. Conceal fasteners and welds as much as design will allow. Grind smooth all sharp angles and corners.

D. Connect non-welded members using manufacturer's standard concealed fasteners and fittings unless otherwise indicated.

E. Close exposed ends of railing members with manufacturer's standard end fittings.

F. Provide Manufacturer's standard brackets, fittings, flanges, and anchors for connection to other work unless otherwise indicated on the approved shop drawings.

PART  3   EXECUTION

3.1 EXAMINATION

A. Do not begin installation until substrates have been properly prepared.

B. Verify mounting conditions are in accordance with manufacturer's recommendations.

C. If substrate conditions are the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

3.2 PREPARATION

A. Clean surfaces thoroughly prior to installation.

B. Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

3.3 INSTALLATION

A. Install in accordance with manufacturer's instructions.

B. Provide anchorage devices and fittings to secure railings to in-place construction, including threaded fittings for concrete inserts, toggle bolts and through-bolts.

C. Install railing system plumb, level, square, and rigid.

D. Separate dissimilar materials with bushings, gaskets, grommets, washers or coatings where required to prevent electrolytic corrosion.

3.4 CLEANING

A. Remove temporary coverings and protection of adjacent work areas. Clean installed products in accordance with manufacturer's instructions before owner's acceptance.

B. Remove from project site and legally dispose of construction debris associated with this Work.
3.5 PROTECTION

A. Protect installed products until completion of project.

B. Replace defective or damaged components as directed by Architect.

C. Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION
05521-1 


